## Slide 1
Suppose we add at every joint

## Slide 2
Calculate
Suppose we are adding directly, for the two systems
Natural Body Dynamic System
(1)
Foot Drop System (Disable Tm(15or17)) with
(2)
From above analysis, we know that to calculate device torque , Tm(17) is the key

## Slide 3
Stage 1
Stage 2
Stage 3
Stage 4
Stage 5
Stage 6
Normal
Stance
Swing
Tm(17)
The formation of Tm(17) is shown as below
Ideally, from sensors, we can acquire the information of current positions and velocities of each joint. However, it not easy to know the value of neural signals sent to the muscles. Thus, we need to estimate the value u(13) to calculate Tm(17)

## Slide 4
Estimate u(13) from current states ()
The basic idea of my way to estimate u(13) is that we have known what u(13) of normal gait will be like, based on previous research, we can easily get the curve of u(13) during whole gait (Figure 1)
Figure 1
Thus, to estimate u(13), we just need to know what current status of the gait in gait cycle is, then using Figure 1 to map the current status to corresponding u(13)
Stage 1
Stage 2
Stage 3
Stage 4
Stage 5
Stage 6
Then the problem becomes how to know the current status of the gait
time

## Slide 5
Use global angle to estimate u(13)
How to know the current status of the gait?
My solution is to use global angle
Global Angle
From previous slide, only has value on stage 2,3,5,6
And in these stages, global angle is almost monotonically increasing, thus, it can be good reference to know the current status of the gait
Stage 1
Stage 2
Stage 3
Stage 4
Stage 5
Stage 6
time
global angle

## Slide 6
Use global angle to estimate u(13)
global angle
global angle
In Stage 2,3
In Stage 5,6
The relationship between f(u(13)) and is shown as left, we can see as the stage information is known, there is clear one to one mapping from to f(u(13)).
The only exception is in stage 6, where in the red box
Neglecting this exception, this method is still feasible. Thus the procedure of estimating u(13) and calculating device torque would be
Knowing (), calculate Sg (stage) and
Use Sg and , with mapping information (left figure), to estimate u(13) or f(u(13))
Use u(13) and () to calculate Tm(17)
Use Tm(17) to calculate device torque

## Slide 7
Simulation about System with Tm(17) disabled and Adding Device Torque by Estimating u(13)
Normal
Foot Drop
Foot Drop with tau
Result I: Joint Angle
Result III: Compare of Tm(17)
Result II: Compare of f(u(13))
Normal
Estimated
Gait(%)
Tm(17)
Gait(%)
f(u(13))
Normal
Estimated